QUICK GUIDE TO SCAN PROCEDURES AT NYSPI

At least two weeks before scan

- Obtain any necessary approvals for implants, tattoos, or any other items that require additional review per the MRI Unit Screener – email ghp2114@cumc.columbia.edu, matthew.riddle@nyspi.columbia.edu and mri.operators@nyspi.columbia.edu regarding any approvals needed

Within 24 hours of scan

- Complete the MRI Unit Screener with the participant (we recommended not “submitting” the screener until the day of the scan)

- Attach PDF of signed consent form to the screener in REDCap

- Attach PDF of approval email(s) to the screener in REDCap

- Attach PDF of any relevant medical documentation to the screener in REDCap

The Day of the Scan

- If applicable, administer pregnancy test and submit results via REDCap

- Finalize MRI Unit Screener in REDCap and “Submit”

- Inform MRI Operators of any additional requests needed (additional padding, MRI Compatible wheelchair, etc.)

- Arrive at the MRI Suite no sooner than 15 minutes prior to scheduled scan time unless approved by MRI Staff

After arrival at MRI Suite

- Have subject remove ALL items listed on the MRI screener and anything that would be incompatible with the scanner, pose a safety issue, or cause discomfort during the scan

- Check in with MRI Operator on duty to verify that participant is clear to enter

- Bring participant into the “on deck” area, and wand the subject within view of the MRI Operator

- Proceed with scan once cleared by the MRI Operator

- Study Group staff members should remain in MRI suite during scan

Relevant Emails:

Julissa.Osorno@nyspi.columbia.edu – MRI Operator

Jenna.Anderson@nyspi.columbia.edu – MRI Operator

Xiangling.Mao@nyspi.columbia.edu – MRI Operator, weekends

Shiva.Kalaiselvan@nyspi.columbia.edu – MRI Administrator

Matthew.Riddle@nyspi.columbia.edu – MRI Operations Director, Safety Officer

MRI.Operators@nyspi.columbia.edu – MRI shared mailbox (goes to all)

Ghp2114@cumc.columbia.edu  – MRI Medical Director, Co-Director, NYSPI MRI

Rachel.Marsh@nyspi.columbia.edu – Co-Director, NYSPI MRI

Feng.Liu@nyspi.columbia.edu – Pulse Sequence Physicist, MRI Sequence Safety Lead

Yunsuo.Duan@nyspi.columbia.edu – RF Coil Engineer, MRI Hardware Safety Lead